NETAJI SUBHAS UNIVERSITY OF TECHNOLOGY

DEPARTMENT OF COMPUTER SCIENCE AND ENGINEERING

B.TECH. PROJECT REPORT

A 2.5D CNN–Transformer Framework with Attention, Progressive Pruning, and Nodule Feature Diversity Regularization for Lung Nodule Detection

A project report submitted in partial fulfilment of the requirements for the award of the degree of

BACHELOR OF TECHNOLOGY

| Submitted by: | Under the supervision of: |
| --- | --- |
| Vishal Kumar - 2023UCA1854 Rydham Bansal - 2023UCS1599 Kushagra Sabharwal - 2023UCA1851 | Dr. Surendra Nagar Assistant Professor |

Table of Contents

(Right-click and choose "Update Field" in Microsoft Word to populate this table of contents.)

1. Introduction

Lung cancer still accounts for one of the major reasons for cancer deaths and detection of pulmonary nodules using low dose Computed Tomography (CT) screening has been proven to significantly contribute towards improving patient health status. Given the large number of two dimensional slices in a single scan of the thorax using CT, manual radiological analysis of all the slices in search of small and diverse in shape pulmonary nodules poses a time-consuming process with a certain degree of interobserver variability. This issue has stimulated nearly three decades of work on Computer Aided Detection (CAD) algorithms as well as recent developments in automated detection using deep learning.

The LUNA16 (LUng Nodule Analysis 2016) [11], which is a subset of the larger LIDC-IDRI database, became a standard benchmark for automated pulmonary nodule detection systems. The data set contains 888 CT scans with annotations of pulmonary nodules along with an official evaluation protocol based on the FROC curve and Competition Performance Metric (CPM).

A key issue regarding architecture in this field involves the representation of volumetric CT scans for a learning detector. 2D representations process each individual slice without considering any context and are computationally cheap but lose the contextual information available in the upper and lower slices relative to the candidate nodule. 3D representations keep the volumetric context intact but increase the memory and computational requirements significantly, which is a serious limitation when using commodity research computing hardware. Using a 2.5D representation where a few adjacent slices (z-1, z, z+1) of the CT scan stack up to form multiple input channels is a compromise between the two.

This research focuses on designing a 2.5D CNN-Transformer architecture for lung nodules detection in the LUNA16 dataset. Local spatial features will be extracted using a convolutional neural network backbone, whereas the Transformer will capture longer-range contextual relationships between the spatial features. Further, the project employs an attention mechanism to highlight relevant features related to lung nodules, progressive pruning to explore model compression, and Nodule Feature Diversity (NFD) to avoid redundancy in representation. The ultimate objective of this project is not to assume in advance that any of these components is beneficial, but to determine, via systematic ablation studies, the contribution of each individual component.

The purpose of this report is to explain the motivation behind the project, its literature background, problem statement, methodology, and simulation requirements. This report reflects the present status of an ongoing research project within academia and claims no clinical validity or finality; all architectural and mathematical models presented in this paper, where stated explicitly, are open to experimental validation.

2. Motivation

The motivation for this project arises from a combination of clinical relevance, well-documented technical challenges in pulmonary nodule detection, and a specific research gap identified in the recent literature.

2.1 Limited Context in 2D Processing

Pulmonary nodules are three-dimensional objects, but information available in one CT slice does not give much information on their surrounding environment. The 2.5D approach utilizes information from nearby slices without the need for heavy computational power like that used in 3D networks.

2.2 Local and Contextual Feature Modeling

CNNs work well for the extraction of local features, such as edges, textures, shapes, and even anatomical structures. But the detection of nodules can also take advantage of broader feature relations. Thus, this study explores the CNN - Transformer model architecture, where:
	• CNN → extracts local spatial features.
	• Transformer → captures broader feature relations.
This method's performance will be tested against that of a CNN model.

2.3 Model Complexity and Efficiency

Models used for medical imaging may demand a lot of computational power. As such, performance is not enough to consider; other factors include the number of parameters, memory consumption, computational cost, and inference latency. The goal of this project is to use progressive pruning to minimize model redundancies and to see whether reducing parameters leads to increased efficiency.
Reducing parameters does not necessarily mean that there will be increased inference speed.
Inference efficiency will thus be analyzed along with model compression.

2.4 Feature Representation and NFD

The quality and variety of learned features may also impact the performance of detection. This paper therefore explores the effect of Nodule Feature Diversity (NFD) regularization.

3. Literature Survey

3.1 CNN–Transformer and Attention-Based Classification Models

3.1.1 Attention-Enhanced InceptionNeXt Hybrid Model [1]

Ozdemir et al. [1] propose a hybrid deep learning model for lung cancer detection that integrates InceptionNeXt style multi-scale convolutional blocks with Vision Transformer style grid and block attention mechanisms, built on a MaxViT backbone with data augmentation and transfer learning. Grid attention captures spatial relationships across regions of the image while block attention captures hierarchical, contextual information, allowing the model to jointly capture fine-grained and large-scale nodule features. Evaluated on the IQ-OTH/NCCD dataset (99.54% accuracy) and a Kaggle chest CT dataset (98.41% accuracy) with a model size of 18.1 million parameters, the paper is a classification study (not detection) and is not evaluated on LUNA16. It is relevant to this project chiefly as an architectural precedent for combining CNN multi-scale feature extraction with Transformer style attention.

3.1.2 Multi-Scale Transformer for Nodule Diagnosis, MSTD [3]

Zhao et al. [3] propose MSTD, which combines a multi-scale convolutional module (six parallel branches with different receptive fields) with a dual branch Transformer fusion module a “Space Transformer” that attends across spatial patches and a “Scale Transformer” that attends across the scale dimension before classifying nodules as benign or malignant. On LUNA16, the reported average F1-score is 94.5%, specificity 96.5%, and sensitivity 91.1%, with the authors reporting improvements of roughly 1% AUC, 3.4% accuracy, and 3.6% F1-score over prior state of the art methods on average. MSTD is directly relevant to the Transformer and multi-scale fusion components of the proposed framework, though it operates on single 2D slices rather than a 2.5D representation and includes no pruning or diversity regularization mechanism.

3.1.3 Squeeze-and-Excitation Vision Transformer, SE-ViT [4]

Xue et al. [4] propose SE-ViT, which places a Squeeze-and-Excitation (SE) block before a standard Vision Transformer self attention stage so that image patches (rather than individual pixels) are re-weighted according to their informativeness before self-attention is applied. On LUNA16, SE-ViT reports an average accuracy of 0.863, precision of 0.872, recall of 0.876, F1-score of 0.872, and AUC of 0.862, with ablation results showing improvement over a plain ViT and an SE-CNN baseline. The use of Grad-CAM for interpretability and the explicit channel attention before self attention design are directly relevant to the attention module investigated in this project, although SE-ViT is a 2D classification model without pruning or feature diversity regularization.

3.2 Lightweight and Memory-Efficient Architectures

3.2.1 MEAA-Net [2]

Qiao and Chuprat [2] propose a Memory Efficient Asymmetric Attention (MEAA) mechanism that partitions feature maps along the batch dimension and applies self attention independently within each partition, combined with gradient checkpointing to reduce peak training memory without increasing parameter count. Evaluated on LUNA16 and LIDC-IDRI across five architectural variants, their smallest model (61K parameters, 0.76 GFLOPs) achieves 80.8% accuracy on LUNA16 with an 11 ms single-slice CPU inference time, and the MEAA mechanism reduces peak GPU inference memory by 38.1% and latency by 5.9% relative to a comparable Transformer variant. This paper is highly relevant as a direct efficiency comparator as it demonstrates that attention-based lung nodule classification on LUNA16 can be achieved with orders of magnitude fewer parameters than a ResNet-18 baseline, motivating the parallel emphasis in the present project on measuring parameters, FLOPs, memory, and latency alongside detection accuracy. Unlike the present project, MEAA-Net achieves efficiency through batch-partitioned attention and checkpointing rather than explicit weight pruning, and it is 2D-slice based rather than 2.5D.

3.3 Detection-Oriented (YOLO-Family) Architectures

3.3.1 DAFNet: Downsampling Attention Fusion Network [6]

Li et al. [6] propose DAFNet, a YOLOv11-based one-stage detector for lung nodule detection with two plug-and-play modules: an Adaptive Downsampling Module (ADSM), a dual branch pooling/convolution design that replaces strided convolution to preserve both high and low frequency features while reducing parameters, and a Global Attention Module (GAM), which cascades channel and spatial attention to refine morphological and textural nodule features. DAFNet reports 93.2% precision and 90.7% recall on a self-constructed CT dataset and states that it outperforms state-of-the-art methods in terms of mAP on LUNA16, with an inference speed of 1.5 ms per image and approximately 2.5 million trainable parameters. DAFNet is the closest of the reviewed works to an actual lightweight, attention-augmented detection (rather than classification) pipeline evaluated on LUNA16, and the authors explicitly note that it does not include a false-positive-reduction or malignancy-grading stage — a limitation that motivates the present project's continued use of the official LUNA16 FROC/CPM detection evaluation protocol.

3.3.2 TiCNet: Transformer in Convolutional Neural Network [7]

Ma et al. [7] propose TiCNet, which embeds a Transformer module within a convolutional detection backbone for pulmonary nodule detection on CT images, reporting improved detection performance over prior CNN only detectors on LUNA16. TiCNet is directly relevant as a precedent for combining Transformer based contextual modeling with a CNN detection backbone in a detection (rather than classification) setting, supporting the architectural direction adopted in this project.

3.3.3 Swin Transformer for Lung Nodule Detection [8]

Shakuri and Rezvanian [8] investigate a Swin Transformer based detection pipeline for lung nodules, exploring the use of hierarchical, shifted window self attention as an alternative to conventional CNN backbones for nodule detection. This work is relevant to the choice of Transformer variant considered for the contextual feature modeling stage of the proposed framework, and illustrates that windowed self attention is an actively explored alternative to full self-attention for volumetric/2.5D medical imaging tasks.

3.4 A Review of Detection Architectures

3.4.1 YOLO in Healthcare: A Comprehensive Review [5]

Palaniappan et al. [5] present a systematic review of peer-reviewed papers applying YOLO-family object detectors across medical imaging domains, including oncology and radiology. The review documents the architectural evolution of YOLOv1 through YOLOv8+ (backbone/neck/head changes and reported mAP@0.5 improving from 63.4% for YOLOv1 to 89.2% for YOLOv8, as summarized by the reviewed literature) and reports that lightweight variants such as YOLOv5s achieve real-time frame rates in surgical settings. As a review rather than a novel method, this paper is not directly comparable on LUNA16 metrics; it is cited here for background context on detection architecture trends and the role of attention/Transformer enhanced backbones in medical object detection, which motivates situating the proposed 2.5D CNN-Transformer detector within the broader detection architecture literature rather than treating it as an isolated classification problem.

3.5 Feature-Diversity Regularization

The proposed Nodule Feature Diversity (NFD) regularization term (Section 5.3) is conceptually related to but is distinct from, existing feature diversity and redundancy reduction regularizers in the general deep learning literature.

3.5.1 VICReg [9]

Bardes et al. [9] propose Variance Invariance Covariance Regularization (VICReg) for self-supervised representation learning, which explicitly regularizes the variance of each embedding dimension and decorrelates different embedding dimensions via a covariance penalty, preventing representational collapse without requiring negative sample pairs. The variance and covariance terms in VICReg provide a template for how a diversity/redundancy reduction penalty can be defined directly on learned feature embeddings, which informs the design rationale for the proposed NFD loss, although VICReg is developed for general self supervised representation learning rather than medical nodule detection.

4. Problem Statement

Lung nodule detection from CT scans is challenging due to variations in nodule size, shape, density, and contrast, along with severe class imbalance. While 2D approaches are computationally efficient, they may lose inter-slice context, whereas 3D approaches preserve this information at significantly higher computational and memory costs. Existing research has explored CNN–Transformer architectures, attention mechanisms, and lightweight models largely in isolation, leaving the effectiveness of their integrated use and feature redundancy control insufficiently established.

This project therefore aims to design and experimentally evaluate a 2.5D CNN-Transformer lung nodule detection framework incorporating attention, progressive pruning, and Nodule Feature Diversity (NFD) regularization. Using controlled single-variable ablation experiments on the LUNA16 dataset, the study will determine whether these components individually or jointly improve the trade-off between detection performance (FROC/CPM, sensitivity, false positives) and computational efficiency (parameters, FLOPs, memory, latency, and sparsity), without assuming that any component is inherently beneficial.

5. Objective and Methodology

5.1 Research Objectives

The central research question guiding this project is:

“Can a 2.5D CNN-Transformer lung nodule detection framework, enhanced with attention, progressive pruning, and Nodule Feature Diversity regularization, achieve a useful balance between detection performance and computational efficiency on LUNA16?”

5.1.1 Primary Objective

To develop and evaluate a complete lung nodule detection framework using a 2.5D CT input representation and CNN–Transformer feature extraction.

5.1.2 Secondary Objectives

- Establish a reproducible lung nodule detection baseline.

- Investigate the contribution of Transformer based contextual modeling over a CNN only backbone.

- Develop and evaluate a progressive pruning strategy.

- Develop and evaluate a task specific Nodule Feature Diversity (NFD) regularization term.

- Evaluate detection performance using LUNA16 appropriate metrics (FROC, CPM, sensitivity, false positives per scan).

- Measure computational characteristics (parameters, FLOPs/MACs, memory, latency, sparsity, throughput) for every experimental configuration.

- Perform controlled experiments to isolate the contribution of each component, and analyze the resulting performance-efficiency trade-off.

5.2 Proposed Architecture

Figure 5.1 summarizes the proposed architecture.

Figure 5.1: proposed 2.5D CNN–Transformer detection framework.

Every stage of this pipeline is implemented as an independently replaceable module (data, preprocessing, backbone, attention, fusion, detection head), so that the exact CNN backbone, Transformer depth/embedding dimension, attention variant, number of 2.5D slices, and detection-head formulation remain configurable research variables rather than fixed design choices, consistent with the project's architecture rules. No specific backbone or Transformer configuration is claimed as final at this stage; the appropriate configuration will be selected based on the experimental results described in Section 5.4.

5.3 Proposed Training Objective

The primary detection objective combines a classification/objectness loss with a localization loss:

Ldet=λclsLfocal+λlocLloc

Because the candidate set for nodule detection is heavily dominated by easy negative (non-nodule) samples, a focal loss formulation may be used for the classification/objectness term:

Lfocal=−αt(1−pt)γlog(pt)

Where

pt=p,ify=1,1−p,ify=0.

Here, αt controls class weighting and γ controls the down-weighting of easy examples.

An IoU-based localization loss,

Lloc=1−IoU(B,B∗)

may be used to measure the discrepancy between a predicted box BB and the ground-truth box B∗, where

IoU(B,B∗)=B∩B∗B∪B∗

is the Intersection over Union between the predicted and ground-truth boxes. The exact localization formulation will be finalized based on the selected detection head.

A proposed Nodule Feature Diversity (NFD) regularization term is added as an auxiliary objective. For learned nodule feature representations fi and fj, their cosine similarity is defined as:

sim(fi,fj)=fiTfj‖fi‖2‖fj‖2

A candidate formulation for the NFD regularization is:

LNFD=1N(N−1)i,ji≠jmax0, sim(fi,fj)−m2

where m is a similarity margin and N is the number of feature representations considered.

The overall training objective is:

Ltotal=Ldet+λNFDLNFD

Substituting the detection objective gives:

Ltotal=λclsLfocal+λlocLloc+λNFDLNFD

Notation

| Symbol | Meaning |
| --- | --- |
| Ltotal | Overall training loss |
| Ldet | Primary detection loss |
| Lfocal | Focal classification/objectness loss |
| Lloc | Localization loss |
| LNFD | Nodule Feature Diversity regularization loss |
| λcls | Weight of the classification/objectness loss |
| λloc | Weight of the localization loss |
| λNFD | Weight of the NFD regularization |
| p | Predicted probability of the positive/nodule class |
| y | Ground-truth class label, y∈{0,1} |
| pt | Probability assigned to the ground-truth class |
| αt | Class-balancing factor |
| γ | Focal-loss focusing parameter |
| B | Predicted bounding box |
| B∗ | Ground-truth bounding box |
| IoU | Intersection over Union |
| fi,fj | Learned feature representations |
| sim(fi,fj) | Cosine similarity between two feature representations |
| m | NFD similarity margin |
| N | Number of feature representations considered |

5.4 Progressive Pruning

Rather than a single, one-shot pruning operation, the framework investigates progressive pruning, in which the model is iteratively trained, evaluated, pruned, and recovered through fine-tuning:

Train

↓

Evaluate

↓

Prune

↓

Recover / Fine-tune

↓

Evaluate — repeat for additional pruning levels

↓

Final (pruned) model

Figure 5.2: Progressive pruning and recovery cycle.

5.5 Evaluation Metrics

Because this is a detection (not classification) task, evaluation will prioritize detection-appropriate metrics rather than classification accuracy alone:

- FROC (Free-response Receiver Operating Characteristic) curve, plotting sensitivity against false positives per scan.

- CPM (Competition Performance Metric), the LUNA16 official summary metric averaged over specified false-positive-rate operating points.

- Efficiency metrics: parameter count, FLOPs/MACs, model size, peak memory, inference latency, throughput, and sparsity (for pruned models).

No component will be described as beneficial, and no result will be presented as final, until it is supported by these measurements; negative or inconclusive results will be reported alongside positive ones.

6. Simulation Platform and Requirements

This section documents the dataset, hardware, and software environment used for implementation and experimentation.

6.1 Dataset

The project uses the LUNA16 (LUng Nodule Analysis 2016) dataset [11], comprising 888 low-dose chest CT scans derived from the LIDC-IDRI collection, together with the associated nodule annotation and candidate files. Dataset splitting is performed at the scan level to avoid information leakage between training, validation, and test partitions, and preprocessing parameters (Hounsfield-unit conversion, normalization, resampling, lung-region ROI extraction) are recorded and applied consistently across partitions.

6.2 Hardware Environment

| Component | Specification |
| --- | --- |
| Machine | MacBook Pro (Apple M3) |
| Memory | 8 GB RAM |
| Operating System | macOS |
| Acceleration | Apple MPS backend where supported and stable; CPU execution retained as a fallback for debugging and validation |

Table 6.1: Primary development hardware environment.

Because of the 8 GB memory constraint, the implementation is designed to avoid loading the complete LUNA16 dataset into memory, favouring on-demand/lazy loading and memory-conscious batch sizes; this is treated strictly as an implementation constraint and not as a research contribution in itself.

6.3 Software Environment

| Category | Tools / Libraries |
| --- | --- |
| Programming language | Python 3.11 |
| Deep learning framework | PyTorch |
| Numerical / scientific computing | NumPy, SciPy |
| Data handling | pandas |
| Machine learning utilities | scikit-learn |
| Medical image processing | SimpleITK, nibabel |
| Configuration | PyYAML |
| Visualization | matplotlib |
| Progress reporting | tqdm |
| Testing | pytest |
| Development environment | VS Code, Conda, Jupyter Notebook |
| Version control | Git |

Table 6.2: Core software stack.

Additional libraries are introduced only when they address a concrete project requirement that cannot reasonably be met with the existing stack, in order to keep the environment reproducible and dependency-light. All experiment configurations (model, training, preprocessing, pruning, and loss settings) are stored as YAML configuration files rather than hard-coded values, so that experiments remain reproducible across runs and machines.

7. Conclusion

This report has presented the motivation, literature context, problem statement, and proposed methodology for a 2.5D CNN-Transformer framework for lung nodule detection on the LUNA16 dataset, incorporating an ablation-toggleable attention mechanism, a progressive pruning strategy, and a proposed Nodule Feature Diversity (NFD) regularization term. The literature survey shows that CNN-Transformer hybrids, attention mechanisms, and lightweight/efficient architectures have each been investigated for lung nodule classification or detection, but that their combination with an explicit feature-diversity regularizer and a progressive compression schedule, evaluated jointly through controlled ablation on both detection performance and computational efficiency, remains comparatively underexplored — motivating the research direction adopted here.

The proposed framework is deliberately specified at a level that keeps its constituent components  the CNN backbone, Transformer configuration, attention variant, number of 2.5D slices, pruning schedule, and NFD formulation — as configurable research variables rather than fixed design choices. Consistent with the project's guiding research-integrity principle, no claim is made at this stage that any individual component improves detection performance or efficiency; each will be evaluated through implementation, using the official LUNA16-appropriate detection metrics (FROC, CPM, sensitivity, false positives per scan) alongside standard efficiency metrics (parameters, FLOPs, memory, latency, sparsity, throughput).

As with all deep learning based CAD research, the system described here is an academic research prototype and is not a clinically validated diagnostic device; its predictions are research outputs and are not intended to replace radiologist judgement. Future work, following the phased roadmap already defined for this project, includes completing the 2D and 2.5D baselines, integrating and evaluating the CNN–Transformer architecture and attention module, implementing and validating the progressive pruning and NFD mechanisms, and reporting the complete ablation study, efficiency analysis, and error analysis needed to support any eventual novelty or performance claim with experimental evidence.

8. References

[1] B. Ozdemir, E. Aslan, and I. Pacal, “Attention Enhanced InceptionNeXt-Based Hybrid Deep Learning Model for Lung Cancer Detection,” IEEE Access, vol. 13, pp. 27050–27063, 2025, doi: 10.1109/ACCESS.2025.3539122.

[2] L. Qiao and S. Chuprat, “MEAA-Net: Memory-Efficient Asymmetric Attention for Resource-Constrained Lung Nodule Classification,” IEEE Access, vol. 14, pp. 18099–18110, 2026, doi: 10.1109/ACCESS.2026.3660056.

[3] X. Zhao, J. Li, M. Qi, X. Chen, W. Chen, Y. Li, Q. Liu, J. Tang, Z. Han, and C. Zhang, “MSTD: A Multi-Scale Transformer-Based Method to Diagnose Benign and Malignant Lung Nodules,” IEEE Access, vol. 13, pp. 16182–16192, 2025, doi: 10.1109/ACCESS.2025.3531001.

[4] X. Xue, Y. Ma, W. Du, and Y. Peng, “Squeeze-and-Excitation Vision Transformer for Lung Nodule Classification,” IEEE Access, vol. 13, pp. 24852–24862, 2025, doi: 10.1109/ACCESS.2025.3529127.

[5] D. Palaniappan, R. Jain, T. Premavathi, K. Parmar, W. Ghribi, A. M. Ahmed, and N. Ahmad, “YOLO in Healthcare: A Comprehensive Review of Detection Architectures, Domain Applications, and Future Innovations,” IEEE Access, vol. 13, pp. 145714–145725, 2025, doi: 10.1109/ACCESS.2025.3599358.

[6] L. Li, X. Wen, M. Li, X. Wang, X. Feng, and X. Lv, “Downsampling attention fusion network (DAFNet): a You Only Look Once network for lung nodule detection,” Quantitative Imaging in Medicine and Surgery, vol. 16, no. 7, p. 532, 2026, doi: 10.21037/qims-2026-1-0050.

[7] L. Ma, G. Li, X. Feng, Q. Fan, and L. Liu, “TiCNet: Transformer in Convolutional Neural Network for Pulmonary Nodule Detection on CT Images,” Journal of Imaging Informatics in Medicine, 2024, doi: 10.1007/s10278-023-00904-y.

[8] S. Shakuri and A. Rezvanian, “An Efficient Approach to Detecting Lung Nodules Using Swin Transformer,” in Proc. 19th Iranian Conference on Intelligent Systems (ICIS), IEEE, 2024.

[9] A. Bardes, J. Ponce, and Y. LeCun, “VICReg: Variance-Invariance-Covariance Regularization for Self-Supervised Learning,” in Proc. International Conference on Learning Representations (ICLR), 2022.

[10] B. O. Ayinde, T. Inanc, and J. M. Zurada, “Regularizing Deep Neural Networks by Enhancing Diversity in Feature Extraction,” IEEE Transactions on Neural Networks and Learning Systems, vol. 30, no. 9, pp. 2650–2661, 2019, doi: 10.1109/TNNLS.2018.2885972.

[11] A. A. A. Setio, A. Traverso, T. de Bel, M. S. N. Berens, C. van den Bogaard, P. Cerello, H. Chen, et al., “Validation, comparison, and combination of algorithms for automatic detection of pulmonary nodules in computed tomography images: The LUNA16 challenge,” Medical Image Analysis, vol. 42, pp. 1–13, 2017, doi: 10.1016/j.media.2017.06.015.